MAINTENANCE EXAMINATION ANSWER SHEET

TRUE OR FALSE

1.  False   		13. True   		 25. False

2.  False                        	14. False                   	 26. True

3.  False                         15. True                  	 27. False

4.  True                      	16. True             	 28. False

5.  True              	17. False                         29. False

6.  False                       	18. True                          30. True

7.  False                         19. True                           31. True

8.  False                 	20. True                           32. False

9.  False                         21. True                           33. True

10. True                    	22. False                          34. False

11. False                  	23. False                          35. False

12. True                        	24. False

MULTIPLE CHOICE

36. B                 	42. B                 	48. C		54.  C		60.  C

37. A                 43. B                  49. C		55.  D		61.  D

38. C                 44. C                  50. A		56.  A		62.  C

39. C                 45. A                  51. B		57.  B		63.  C

40. C                 46. D                  52. C		58.  A

41. D                 47. B                  53. B		59   C

WRITTEN ANSWERS

64.  Be sure that all connections are absolutely clean.

65.  Loose washer or washers that are badly worn.

66.  Wax ring under toilet, shower drain leaks, gasket around tube overflow is defective, loose

packing nuts on back of tub tiled walls, any defective plumbing pipes in supply or drain pipe to

tub area.

67.  Defective flapper on flush valve, defective ball cock, chain on handle either holding flapper up

or caught under flapper.

68.  C

69.  B

70.   Unit which controls turning on- off light.

71.   Its measurements according to length, threading size.

72.  Reference to screws, e.g. and their application.

73.  Yes. The addition of oil to the gas (mixture differences.)

74.  The two metals more or less corrode, possible bad connections.

75.  Bad connections, corrosion and wear.

76.  Draining.

77.  Number of threads.

78.  Red (high side), blue (low side), white (charging or vacuum pumps.)

79.  AC - alternate current, DC - Direct current.

80.  Water level switch.

81.  Lack of electrical power to range and/or breaker switch off.

82.  Parallel.

83.  T/P Value

84.  System must totally evacuated with vacuum pumps.

85.  Monkey Wrench - smooth for slip nuts, etc: - Pipe Wrench - teeth for pipes.

86.  Amount of measured electrons.

87.  The difference is-gas and liquid. Liquid Freon.

88.  Parallel.

89.  To prevent release of gases.

90.  Limit switch.

91.  A tool used on windows.

92.  Door.

93.  Where pipes join together.

94.  In the furnace duct system.

95.  Nails.

96.  Proper tools and equipment.

97.  At the transformer.

98.  55 degrees approximately.

99.  Basin wrench is used to remove faucets.

100. To regulate and control desired temperature and regulate the various heat and cool controls.